##### Comparative Study on Accuracy of Selected Solar Radiation Models against Measured Data under Tropical Climate

W K. CHERUIYOT1\*, J K. TONUI2, & S C. LIMO3

*1,2,3University of Eldoret, Department of Physics, P.O Box 1125-30100, Eldoret, Kenya*

*\*Tel: +254 0726 037818, E-mail:* *wilkinscheruiyot@gmail.com**.*

# **Abstract:** Solar radiation is the basic source of renewable energy in the environment and its measurement is very important, but ground-based measurements are lacking in most locations across the world due to high cost and calibration difficulties of measuring instruments. However, this limitation has been addressed fairly successfully using proposed predictive models to estimate radiation in regions with no measurements. As availability of solar radiation depends on climatic conditions of a locality, any empirical model selected should be calibrated for that specific region. Four prediction models were selected and validated with radiation data measured at a location in western Kenya for the purpose of recommending the most accurate model(s) for the site. Results revealed that all proposed models have relatively good estimation, but Angstrom-Prescott and Iqbal models are the most accurate for the site having the lowest values of MAPE of 8.5% and 8.9% and RMSE of 0.252.and 0.302 respectively.

**Keywords:** Solar, irradiance, model, measurement, prediction.

# **Introduction**

Solar radiation is the basic source of renewable energy in the environment, and has been exploited since antiquity to date. Availability of solar radiation data are beneficial in areas of agriculture, water resources, day lighting and architectural design, solar conversion devices and climate change studies (Katiyar, *et.al*., 2010; Al-Kayiem & Mohammad, 2019). In solar energy conversion and utilization devices, for example, data on solar radiation and its components at a given location are very essential for their evaluation and deployment. These data are required in order to design and size a cost effective solar collector in terms of cost and energy demand of the load at the site. Unfortunately, there are only a few public meteorological stations in Kenya that measures the solar radiation, which is a norm in many developing countries. Luckily, for locations where measured data are lacking, either spatial interpolation of measured values from the few nearby meteorological stations or empirical/ regression equations proposed by various researchers in this field can be used to estimate the solar radiation. However, spatial interpolation is restricted to a radius of 30 km from the station and estimation models need to be validated with measured data at the location, since correlation coefficients are site/climate dependent (Al-Sanea, et.al., 2004). Solar radiation travelling from the sun through the sky until it reaches the surface of the earth has been classified into three components: global, beam and diffuse irradiance, often called sunshine in layman terms (Duffie & Beckmann, 2013). These components are usually measured using instruments called radiometers (e.g. pyrheliometer and pyranometer) in units of Wm-2 or kWm-2 and when integrated over a day, give daily irradiation which is expressed in MJm-2day-1 or kWhm-2day-1. In addition, solar radiation varies both spatially and temporarily. Thus, for a given site and regardless of type, solar radiation can be quantified with respect to time as hourly, daily, monthly or annual averages (Cucumo, *et.al*, 2007). The temporal classification is necessitated by the fact that simulation models used for predicting performance or processes in different applications of solar energy require different temporal resolution or details of the available radiation data. For instance, daily global solar radiation reaching the earth surface at hourly basis (or even sub-hourly) is very important for analysis and simulation of performance of solar energy conversion and utilization devices, e.g. a photovoltaic (PV) module (Al-Sanea, 2004), but monthly averaged solar radiation data may be sufficient for agricultural applications.

Several models with varying degrees of complexity, detail and accuracy have been developed and used in different parts of the world to generate radiation data and its components. These models are based on either empirical correlations or statistical regression between satellite and/or ground measurements and various meteorological parameters (Kais, *et.al*, 2010; Doorga, *et.al.*, 2019). The most commonly used meteorological parameters are air temperature (Gairaa & Bakelli, 2013; Bocca, *et.al.*, 2018), relative humidity (Rao, et.al*.*, 2012; Qing & Niu, 2018), precipitation (Yu, et.al., 2019; Maleki, et.al.*,* 2017), cloudiness cover (Paulescu & Blaga, 2016) and bright sunshine duration (Muneer, 2014). Additional input parameters used are solar altitude, aerosol concentrations and global warming factor (Hocaoglu & Serttas, 2017; Despotovic, et.al., 2016). As correlation coefficients used in the models are climate dependent, it is required to adjust the model to account for local weather conditions so that it accurately predict available solar radiation at the real site. In this paper, four models for predicting horizontal global radiation were selected and validated with the ground measured data at a site in western Kenya. These models are Angstrom-Prescott, ASHRAE, Hargreaves-Samanni and Iqbal, which are based respectively on sunshine hours, sky clearness, ambient temperature and the atmospheric transmittance. Each model has got unique merits and demerits depending on the number and availability or ease of determination of predictor variable(s), whether it takes into account the local effects such as atmospheric transmittance, and finally if it requires calibration using local measurement of solar irradiation data (Doorga, et.al., 2009).

Radiation prediction models are expected to estimate as closely as possible the monthly average daily global solar irradiation on a horizontal surface from applicable meteorological parameters. The four selected models were chosen such that the mathematical expressions were diverse and involve input parameters that are easily available or determined at the site. The models considered can be grouped into three categories: sunshine, temperature and hybrid-parameter based models (Hofmann and Seckmeyer., 2017). The Angstrom-Prescott model was developed by Angstrom but was modified by Prescott, hence the name. Prescott simplified the equation by replacing clear sky global solar irradiation with extraterrestrial solar irradiation on a horizontal surface. The Angstrom-Prescott model assumed linear relationship between sunshine duration and solar radiation, but various researchers have reported better coefficients for second order (quadratic), third order (cubic), exponential, power and logarithmic fits (Doorga, et.al., 2009). Hargreaves-Samanni’s model is based on air temperature (maximum and minimum) and most appropriate when data on sunshine hours is lacking. ASHRAE clear sky model offers a simple method and is widely used as a basic tool for solar heat load calculation for air conditioning systems and building designs by engineers and architects (Maleki, et.al., 2017). Iqbal model takes into account the scattering-transmittance of the atmosphere contributed by Rayleigh, ozone, gases, water and aerosol components (Wong & Chow, 2001). In this paper, data estimated from the four selected models were compared with solar radiation data measured for a period of one year at a location in western Kenya in order to recommend one that is more accurate for the site.

# **Materials and Methods**

## *2.1 Study location*

The study was carried out at a location in western Kenya with coordinates 0.42 N and 35.03 E, hence falls within tropical zone, and as such is expected to have abundant solar radiation throughout the year. The site has an elevation of 1993 m above mean sea level, ambient temperature varies between 18 oC to 22 oC, and average rainfall ranging from 1200 mm to 2000 mm per annum.

## *2.2 Experimental setup*

Experimental set-up used in this study is part of a PV backup power system installed at a technical training institution in western Kenya. An SPM Pyranometer is mounted as part of the instrumentation and measures global solar radiation on a horizontal plane. Data is logged at intervals of five minutes, and the data logging system uses the sensitivity specified by the manufacturer to record data in irradiance units (i.e. W/m2). Data collection is ongoing and the data presented here are for a period of one year, beginning from July 2019 to June 2020.

## *2.3 Selected models*

### Angstrom-Prescott model

This model correlates the extraterrestrial, *H*o and terrestrial, *H*s daily horizontal global solar radiation and sunshine duration as having linear relationship (Duffie & Beckmann, 2013):

 (1)

where *S* is daily number of hours of bright sunshine, *S*a is daily number of hours of possible sunshine (day light between sunrise and sunset). The parameters *a* and *b* are regression coefficients and their values depend on the altitude of the site and atmospheric transmittance and are given by (Duffie and Beckman, 2013):

 (2)

 (3)

The *H*o in equation (1) is given by:

 (4)

where *Gsc* is solar constant (=1367W/m2), *ωs* is the sunset angle, *ϕ* is the latitude angle of the site,$ δ$ is the sun declination angle and *n* is the day number of year, with *n* = 1 for 1st January and *n* = 365 for 31st December (Bandyopadhyay, et.al., 2008).

### ASHRAE model

ASHRAE clear sky model is given by (ASHRAE, 1985; Wong & Chow, 2001; Al-Sanea, et.al., 2004):

 (5)

where *A* is the atmospheric extinction coefficient, *B* is the diffuse sky factor, and *φz* isthe zenith angle. The coefficient *A* and cos*φz* can be calculated respectively from (Basharat and Mohd, 2014):

 (6)

 (7)

### Hargreaves-Samanni’s model

Hargreaves-Samanni’s temperature-based model is given by (Hargreaves & Samani, 1982):

  (8)

where *KRS* is empirical coefficient related to atmospheric transmittance, and *Tmax* and *Tmin* are respectively maximum and minimum temperatures. The *KRS* is included to account for possible pollution at the site with values of 0.16 (used in this study) and 0.19 respectively for inland and coastal sites.

The *Ho* in equation (8) is given by:

 (9)

where *E0,* the eccentricity correction factor of the earth’s orbit and is expressed as (Wong & Chow, 2001):

  (10)

### Iqbal model

Iqbal model is based on atmospheric transmittance and is given by (Iqbal, 1983; Batlles, et. al., 2000; Wong & Chow, 2001):

 (11)

where the factor 0.9751 is included to show that spectral interval considered is 0.3-3 µm, τs is scattering-transmittance (equal to product of Rayleigh, ozone, gas, water and aerosol scattering fractions), and *Hd* is diffuse component contributed by Rayleigh and aerosols scattering after passing through the atmosphere. The parameters *ρ*g and *ρ*a are the ground and cloudless sky albedos. Evaluation of *τ*s, *H*d, *ρ*a and other parameters are given elaborately by Wong & Chow (2001) and Batlles, et. al. (2000).

## *2.4 Comparisons techniques*

Several statistical indicators have been proposed and used to test and compare estimated solar radiation data from different models with measured data. Among them are mean bias error (MBE), root mean square error (RMSE), absolute percent error (MAPE), coefficient of determination (*R*2), *t-*statistic method (*t-*stat), among others (Toffalis, 2015; Al‑Aboosi, 2020; Doorga, et. al., 2019). The MAPE and RMSE were selected for comparison in this paper.

 The RMSE represents the sample standard deviation of the differences between estimated and measured values and is given as:

 (12)

The MAPE is a measure of relative overall fit, and has the advantage of being scale-independent (Doorga, et. al., 2019):

 (13)

where *H*i,r and *H*i,e represent the *it*h measured and estimated values respectively, and *n* is the number of observations.

# **Results and Discussions**

## *3.1 Representative experimental results*

Daily solar radiation on a horizontal surface was measured and recorded on hourly basis beginning from July, 2019 and is ongoing. Figure 1 shows typical representative measured data for two days, one representing a sunny or good day (26th January, 2020) and the other one representing a cloudy or bad day (29th June, 2020). These results represent the daily solar radiation available during the dry and rainy climatic seasons experienced at the site. From the sunny sky curve, it is evident that the peak solar radiation around midday can be as high as 1200 W/m2,with average peak solar hour (PSH) of ~6 hours between 10 am to 4 pm. Thus, it can be inferred that the site is characterized by high amount of solar radiation, which is adequate for harnessing to supply clean energy, both electricity and thermal energy.

*Figure 1: Typical daily solar irradiance for dry and wet seasons at the site.*

Figure 2 shows the monthly average clearness index (*KT*) evaluated for the site based the measured data. Clearness index is the ratio of the ground measured monthly daily average of horizontal global solar radiation, *H* and *H*o in equation (2). It is used to partition months according to sky conditions as either cloudy (*KT* < 0.3), partly cloudy (0.3 ≤ *KT ≤*0.5) and sunny (*KT*> 0.5) (Al‑Aboosi, 2020). These results show that four months (April to July) of the year may be classified as partly cloudy and eight months (August to March) may be classified as sunny. Thus, chances of cloudy or overcast conditions at the site is low.

## *Figure 2: Monthly average clearness index.*

## *3.2 Comparison of modelled and measured data*

Figure 3 shows graphical or qualitative comparison of the monthly average of daily solar radiation between estimated data from the four models and the measured data for the one year period for the site. These results show that all the models underestimate the amount of solar radiation and hence will present undesirable consequences were these models used to estimate radiation at the site. For instance, using the estimated data to size any solar conversion device at the site will result to an oversized system, which will increase the capital cost of the system and unnecessarily prolong the payback period of the system. The Angstrom-Prescott and Iqbal models give closer estimated values to experimental values for all the months, followed respectively by ASHRAE and Hargreaves-Samanni. This means that Angstrom-Prescott and Iqbal models are more accurate for estimating the solar radiation for the site than the other two models.

*Figure 3: Comparison between estimated (by the four models) and measured values of monthly average*

*daily global solar irradiance at the site.*

## *3.3 Calculation of uncertainties*

The accuracy and quality evaluation of models’ performance were subjected to statistical tests for selecting the most precise model(s) under the climate of the site. The validation on the performance of the four models was done by comparing their estimated values of monthly average daily global solar irradiance against the measured data. Table 1 presents the performance tests of the four models selected as compared to the experimental data based upon the MAPE and RMSE statistical indicators.

*Table 1: Results of testing the performance of the four models.*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Month | Angstrom | ASHRAE | Hargreaves | Iqbal |
| MAPE | RMSE | MAPE | RMSE | MAPE | RMSE | MAPE | RMSE |
| Jul | 9.6 | 0.111 | 10.9 | 0.21 | 12.7 | 0.114 | 9.1 | 0.165 |
| Aug | 7.9 | 0.231 | 11.2 | 0.112 | 12.6 | 0.123 | 8.6 | 0.462 |
| Sep | 8.6 | 0.562 | 11.0 | 0.145 | 11.8 | 1.035 | 8.8 | 0.165 |
| Oct | 8.2 | 0.321 | 11.5 | 0.732 | 12.7 | 0.601 | 9.1 | 0.633 |
| Nov | 8.8 | 0.145 | 11.4 | 0.561 | 12.9 | 0.532 | 8.7 | 0.126 |
| Dec | 8.0 | 0.124 | 10.7 | 0.085 | 12.5 | 0.096 | 9.0 | 0.125 |
| Jan | 8.1 | 0.217 | 10.8 | 0.365 | 12.7 | 0.325 | 9.1 | 0.187 |
| Feb | 8.1 | 0.521 | 11.1 | 0.119 | 12.9 | 0.356 | 8.7 | 0.822 |
| Mar | 8.8 | 0.317 | 11.5 | 1.023 | 12.8 | 0.723 | 8.9 | 0.124 |
| Apr | 8.4 | 0.117 | 10.9 | 1.823 | 12.9 | 0.117 | 8.6 | 0.562 |
| May | 8.6 | 0.214 | 10.8 | 0.256 | 12.5 | 0.692 | 8.9 | 0.098 |
| Jun | 8.9 | 0.154 | 11.0 | 0.113 | 12.3 | 0.127 | 9.2 | 0.156 |
| Average | **8.5** | **0.252** | **11.0** | **0.462** | **12.6** | **0.403** | **8.9** | **0.302** |

The MAPE test gives average monthly absolute uncertainties of 8.5%, 11.0%, 12.6% and 8.9% respectively for Angstrom-Prescott, ASHRAE, Hargreaves-Samanni, and Iqbal models. From the literature, a MAPE value of less than 10% is regarded as having a very good fit and hence provides a very good forecast (Doorga, *et. al*., 2019). Based on this criterion, Angstrom-Prescott is the best model for the site at 8.5%, followed very closely by Iqbal at 8.9% which are within the good limit. The other two models, however, are outside the good limit and in ascending order of uncertainties are ASHRAE and Heargreaves-Samanni models.

The RMSE test gives standard deviations of 0.252, 0.403, 0.462, and 0.302 respectively for Angstrom-Prescott, Hargreaves-Samanni, ASHRAE and Iqbal models. These test results again show that Angstrom-Prescott and Iqbal are the most accurate models for the site because of their lowest values of standard deviations. However, unlike MAPE test, Hargreaves-Samanni model performs better than ASHRAE model.

# **Conclusion**

Availability of solar radiation plays an important role in the application of solar energy in any sector and location in the world. The scarcity of solar radiation database and the high cost of measurement equipment in most locations across the world has posed significant challenges regarding the exploitation and managing solar energy. However, a reprieve has been provided by the existence of several models that can be used to reliably estimate solar radiation data where measurements are sparse. The measured data in this study indicate that the site has high abundance of solar radiation which may be as high as 1200 Wm-2 on a sunny day with an average PSH of ~6 hours. Classification of clearness index of the site shows that two-thirds of the months of the year are sunny while one-third is partly cloudy, and there is no month with complete overcast. The region, therefore, has abundant solar radiation throughout the year, making it unequivocally amenable to harnessing solar energy as the prime source of energy. The MAPE test on the performance of the four models selected gave absolute uncertainties of 8.5%, 11.0%, 12.6% and 8.9% while RMSE test gave standard deviations of 0.252, 0.463, 0.403 and 0.302 respectively for Angstrom-Prescott, ASHRAE, Hargreaves-Samanni and Iqbal models. These results, therefore, show that all the four models have relatively good estimation of monthly average of daily global solar radiation. However, based on MAPE and RMSE tests, Angstrom-Prescott and Iqbal models predict the monthly average solar radiation with high accuracy than the other two models for this site. Thus, Angstrom-Prescott and Iqbal models are recommended for the site because they estimate the solar radiation data which are closer to the measured values than the ASHRAE and Hargreaves-Samanni models.

## **Acknowledgement**

The authors acknowledge and appreciate Kaiboi Technical Training Institute for allowing their PV power backup system to be used for data collection.

# **References**

Al‑Aboosi, F.Y, (2020). Models and hierarchical methodologies for evaluating solar energy availability under different sky conditions toward enhancing concentrating solar collectors use: Texas as a case study. *Int. J. Energy and Environmental Eng*., 11, 177–205

Al-Kayiem, H. and Mohammad, S. T. (2019). Potential of renewable energy resources with an emphasis on solar power in Iraq: An outlook. *Resources.* 8, 42.

Al-Sanea S. A., Zedan M. F. and Al-Ajlan S. A. (2004). Adjustment factors for the ASHRAE clear-sky model based on solar-radiation measurements in Riyadh. *Applied Energy.* 79, 215-237.

ASHRAE. (1985). Handbook of Fundamentals. Atlanta, Georgia: *American Society of Heating, Refrigeration, and Air-Conditioning Engineers*. ISBN 10-0910110972

Bandyopadhyay, A., Bhadra, A., Raghuwanshi, N.S. and Singh, R. (2008). Estimation of monthly solar radiation from measured air temperature extreme. *Agricultural and Forest Meteorology*. 148; 1707–1718.

Basharat, J.; Mohd, M.K. (2014).Estimation of Clear-Sky Solar Radiation Using ASHRAE Model for Aligarh, India. International Journal of Engineering Research and Technology. 7, (3), 227-236.

Batlles, F.J, Rubio, M.A, Tovar, J, Olmo, F.J and Alados-Arboledas, L, (2000). Empirical modelling of hourly direct irradiance by means of hourly global irradiance. Energy, 25, 675-688.

Bocca, A.; Bergamasco, L.; Fasano, M.; Bottaccioli, L.; Chiavazzo, E.; Macii, A.; Asinari, P. (2018). Multiple-Regression Method for Fast Estimation of Solar Irradiation and Photovoltaic Energy Potentials over Europe and Africa. *Energies*. 11, 3477.

Cucumo. M., De Rossa. A., Ferraro. V., Kaliakatkos. D. and Marinelli. V. (2007). Experimental testing of models for the estimation of hourly solar radiation on vertical surfaces at Arcavacata di Rende. *Solar Energy*, 81 (5), 692-695.

Despotovic, M.; Nedic, V.; Despotovic, D.; Cvetanovic, S. (2016). Evaluation of empirical models for predicting monthly mean horizontal diffuse solar radiation. *Renew. Sustain. Energy Rev*. 56, 246–260.

Doorga, J.R.S.; Rughooputh, S.D.D.V. and Boojhawon, R. (2019).Modelling the global solar radiation climate of Mauritius using regression techniques. *Renew. Energy*, 131, 861–878.

Duffie, J.A. and Beckmann, W, A. (2013). Solar Engineering of Thermal Processes. *John Wiley & Sons, Inc*, New Jersey, ISBN 978-1-118-67160-3

Gairaa, K.and Bakelli, Y. A. (2013). Comparative study of some regression models to estimate the global solar radiation on a horizontal surface from sunshine duration and meteorological parameters for Ghardaïa Site, Algeria. *ISRN Renew. Energy*, 13, 1–11.

Hargreaves, G. and Samani, Z. (1982). Estimating potential evapotranspiration. *J. of Irrigation and Drainage Engineering*, 108 223-230.

Hocaoglu, F.O.; Serttas, F. A. (2017). Novel hybrid (Mycielski-Markov) model for hourly solar radiation forecasting. *Renewable Energy*, 108, 635–643.

Hofmann, M. and Seckmeyer, G. (2017). A New Model for Estimating the Diffuse Fraction of Solar Irradiance for Photovoltaic System Simulations. *Energies*, 10, 248.

Iqbal M. (1983). An introduction to solar radiation. Toronto: *Academic press*, 1983.

Kais, J, Al-Jumaily, Ali M, Al-Sahili, Osama T and Al-Tai. (2010). Evaluation of Meteosat-8 measurements using daily global solar radiation for two stations in Iraq. *International journal of energy and environment*, (1) 4, 635-642.

Katiyar, A. K, Kumar, A, Pandey, C. K, Katiyar, V. K, Abdi S. H, (2010). Correlation for the estimation of monthly mean hourly diffuse radiation: a time dependent approach. *Int. J. of Energy & Environment*, 1(5), 833-840.

Maleki, S.A.M, Hizam, H. and Gomes, C. (2017). Estimation of hourly, daily and monthly global solar radiation on inclined surfaces: Models re-visited. *Energies*, 10, 134.

Muneer, T.; Etxebarria, S.; Gago, E.J. (2014) Monthly averaged-hourly solar diffuse radiation model for the UK. *Build. Serv. Eng. Res. Technol*. 35, 573–584.

Paulescu, E. and Blaga, R. (2016). Regression models for hourly diffuse solar radiation. *Solar Energy*. 125, 111–124.

Qing, X. and Niu, Y. (2018). Hourly day-ahead solar irradiance prediction using weather forecasts by LSTM. *Energy*.148, 461–468.

Rao, K.S.K.; Rani, B.I.; Ilango, G.S. (2012). Estimation of daily global solar radiation using temperature, relative humidity and seasons with ANN for Indian stations*. Pro. of 2012 Int. Conf. on Power, Signals, Controls and Computation, Thrissur, Kerala, India, 3–6 January 2012*; 1–6.

Toffalis, C. (2015). A better Measure of Relative Prediction Accuracy for Model Selection and model Estimation. *J. of Operational Research Society,* 66(8), 1352-1362.

Wong, L.T, Chow, W.K, (2001). Solar radiation model. *Applied energy*, 69, 191-224.

Yu, Y.; Cao, J.; Zhu, J. (2019). An LSTM Short-Term Solar Irradiance Forecasting Under Complicated Weather Conditions. *IEEE Access*, 7, 145651–145666.